TRV Thermostatic Radiator Valve User Manual 
[image: image82.png]



Equipment self-check                                                    

	[image: image2.png]



	First time open thermostat, it displays all icons for 3s

	[image: image3.png]



	Time setting: when[image: image4.png]


flashing,then press [image: image5.png]BOOST



 enter hour setting ,press [image: image6.png]


 or [image: image7.png]


 to adjust value,press [image: image8.png]BOOST



 again enter minute setting,press [image: image9.png]


 or [image: image10.png]


 to adjust value,press [image: image11.png]BOOST



 again to set week,press [image: image12.png]


 or [image: image13.png]


 to adjust value,press [image: image14.png]BOOST



 to confirm setting and remember time.

Note: after the actuator completes its self-check,under normal working status,if need to modify time, long press [image: image15.png]BOOST



 3s access to advanced settings. And press [image: image16.png]


to choose [image: image17.png]


 , short press [image: image18.png]BOOST



enter time setting. the same as above method.

	[image: image19.png]\\\‘//
== T





	When display “ADA”, press [image: image20.png]BOOST



 Start system self-check, when display “1”, this is the first step of system self-check. 

	[image: image21.png]



	When Display “2”, this is the second step for self-check.As shown in the picture, it is the second step of the system self-check. After the self-check is completed, if there is no fault prompt, it will enter the normal working state. If there is a fault prompt, please handle the fault first, otherwise it will not enter the normal working state.

	Er1
	Motor fault

	Er2 
	Sensor fault

	[image: image1.png]



	Flashing show low battery 


Technical Data                             

Power: 3*AA* 1.5V alkaline batteries          Working temperature:：0-50°C                  

Display accuracy:：0.5℃                     Default range of temperature adjustment：5~35°C        

Probe sensor:：NTC(10k)1%                   Range of temperature display:：0~70°C                

Thread size：M30*1.5                        Size(mm)：66*52*100mm                      

Maximum route：4.5mm

Displays & Buttons                                   
[image: image22.png]=0

T L





	
	Explain

	A
	Auto mode 6 times periods,[image: image23.png]IN\N]



 Low battery icon , [image: image24.png]


 Child lock 

	B
	[image: image25.png]


 Energy saving mode , [image: image26.png]


 Comfort mode 

	C
	[image: image27.png]


Holiday mode,[image: image28.png]


Manual mode,[image: image29.png]


Auto mode,BOOST mode,[image: image30.png]ADVANCED



Advanced Options

	D
	[image: image31.png]


Clock , [image: image32.png]


Auto mode setting , [image: image33.png]SET



Set temperature 

	E
	[image: image34.png]


Room temperature, [image: image35.png]


Valve status , [image: image36.png]


 Open window function

	F

[image: image37.png]



	1. Short press to switch Auto mode and Manual mode

2. Long press enter to advanced settings

	G

[image: image38.png]



	1.  Decreasing Key
2.  Long press to activate force close valve (display【OFF】)

	[image: image77.png]BOOST



H


	1. Short press to switch Comfort mode and Energy saving mode

2. Long press for 3s to switch set temperature of Energy saving mode or Comfort mode , press[image: image39.png]


or [image: image40.png]


 to adjust value  

	[image: image78.png]


I


	1. Increasing Key

2. Long press to activate force open valve (display OP)


	J

[image: image79.png]=




	1. Long press 3 seconds to start the BOOST function: turn on the BOOST fast heating mode, short press any key during operation to exit this function and return to the previous working mode
2. When setting other functions, short press is the confirmation key

3. Long press for 3 seconds to lock/unlock keys


Special Function description

	Holiday mode

[image: image80.png]



	press  [image: image41.png]


 3s access to advanced setting, short press [image: image42.png]


to choose holiday mode [image: image43.png]


 , then short press [image: image44.png]BOOST



 enter temperature setting, again short press[image: image45.png]BOOST



 setting days setting,press [image: image46.png]


 or [image: image47.png]


to adjust value. Under holiday mode, short press [image: image48.png]


 to exit holiday mode.

	Open Windows Function


	1. The actuator turns off the window opening function by default, if you need to use it, you can turn it on in the advanced option A2 setting [reset disable when changing the battery]
[image: image81.png]MON




2. When the actuator detects that the indoor temperature drops quickly to the valve closed setting value (adjustment range: 5℃-25℃), the valve will be closed for 15 minutes (adjustment range: 5-60 minutes), and it will be closed after the window opening function is completed. Return to the previous working mode, but the valve will be fully opened.


Function                                                       
Auto mode parameter setting
Long press [image: image49.png]


 about 3s access to advanced setting, short press [image: image50.png]


switch to auto mode setting[image: image51.png]


, short press [image: image52.png]BOOST



 access to auto mode setting, short press [image: image53.png]BOOST



 to choose which item you want, First set the auto mode to 5 means :5=5+2 days, 6 = 6+1 days, 7 = 7 days, after press [image: image54.png]BOOST



to access to hour or minute setting, short press [image: image55.png]BOOST



 access to temperature setting. Press [image: image56.png]


 or [image: image57.png]


 to adjust value.
short press [image: image58.png]BOOST



 choose: hour,minute, time period, and press [image: image59.png]


 or [image: image60.png]


 to adjust data, finished setting, about 10 seconds will automatic save and exist.
	Period
	Default Period
	Default temperature

	1
	AM06:00—AM08:00
	20℃

	2
	AM08:00—AM11:30
	15℃

	3
	AM11:30—PM12:30
	15℃

	4
	PM12:30—PM05:30
	15℃

	5
	PM05:30—PM10:00
	20℃

	6
	PM10:00—AM06:00
	15℃


Advanced Options                                                    
Press  [image: image61.png]


 about 3-5s to access to advanced setting, short press [image: image62.png]


until [image: image63.png]ADVANCED,



 flashing, press [image: image64.png]BOOST



 to access to advanced options, press [image: image65.png]


 or [image: image66.png]


 to adjust value, after finish setting every time, short press [image: image67.png]


 or [image: image68.png]


 to set next option, after finishing all , don’t operate, after 10s it will automatically save and exit.
	NO
	Set up items
	Setting parameters
	Default

	A1
	Measuring temperature correction
	-9-+9℃(Displayed as the corrected room temperature value)
	-1℃

	A2
	Open window  function parameter: temperature and running time
	1: display [image: image69.png]


 means disable open window function,press [image: image70.png]


key display 5°C means this function enable(temperature setting range: 5-25°C)

2: Running time:5-60min(after enable function, press [image: image71.png]BOOST



 change setting)
	[image: image72.png]




	A3
	Automatic lock if no operation more than 10 minutes
	0:Disable 

1: Enable
	0

	A4
	Setting temperature minimum limit
	1-15°C
	5℃

	A5
	Setting temperature maximum limit
	16-70°C
	35℃

	A6
	 BOOST mode  running time
	100s-900s , Steps of 100 seconds
	300

	A7
	View valve open status
	0-100
100 mean valve open 100%

5 mean valve open 5%
	

	A8
	Start/stop working temperature difference setting
	0.5-1.5
	1

	A9
	Control type of valve
	0: PID   1: Float  2:ON/OFF
	0

	AA
	Reset
	When display 88, press [image: image73.png]


 or [image: image74.png]


change the value to 00, press[image: image75.png]BOOST



to restore the factory settings, and the screen will be fully displayed for 2 seconds.
	

	AB
	Valve Seal Type
	0:Soft Seal 1:Hard Seal
	0

	AC
	Descaling function
	0: Disable descaling function 
1: Enable descaling function 
	1


[image: image76.png]


 RISK OF ELECTRICAL SHOCK
Please arrange professional technician to install the product according to drawings and instructions.
Disconnect power supply before making any connection. Contact with components carrying hazardous voltage can cause electrical shock.
